## Sheet1
2011 Contractor Performance with Compliance Patterns
|  |  |  | A | [6 empty] | B |  |  | C |  |  |  | D |  |  |  | E |  |  |  | F |  |  | G
No. | Act | CRITERIA
[39 empty] | Contractor | [10 empty] | Contractor Conformity | [7 empty] | 147
1 |  | PRINCIPAL CONTRACTOR AND CONTRACTORS | No. of Projects | Column1 | Column2 | Column3 | Column4 | Column5 | Column6 | Column7 | Column1 | Column2 | Column3 | Column1 | Column2 | Column3 | Column4 | Column1 | Column2 | Column3 | Column4 | Column1 | Column2 | Column3 | Column4 | Column1 | Column2 | Column3 | Column1 | Column2 | Column3 | Column4 | Column5 | Column6 | 1 |  | PRINCIPAL CONTRACTOR AND CONTRACTORS |  | A | B | C | D | E | F | G |  | 1 |  | PRINCIPAL CONTRACTOR AND CONTRACTORS | A | B | C | D | E | F | G |  | A | B | C | D | E | F | G
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 1 | 2 | 3 | 1 | 2 | 3 | 4 | 1 | 2 | 3 | 4 | 1 | 2 | 3 | 4 | 1 | 2 | 3 | 1 | 2 | 3 | 4 | 5 | 6 |  |  |  | Project Total | 7 | 3 | 4 | 4 | 4 | 3 | 6
|  |  |  | A1 | A2 | A3 | A4 | A5 | A6 | A7 | B1 | B2 | B3 | C1 | C2 | C3 | C4 | D1 | D2 | D3 | D4 | E1 | E2 | E3 | E4 | F1 | F2 | F3 | G1 | G2 | G3 | G4 | G5 | G6
| Sec. 37(2) | Is the agreement signed |  | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | Sec. 37(2) | Is the agreement signed |  | 6 | 3 | 4 | 4 | 4 | 3 | 6 |  |  | Sec. 37(2) | Is the agreement signed | 0.85714 | 1 | 1 | 1 | 1 | 1 | 1 | 0-25 | 0 | 0 | 0 | 20 | 7 | 1 | 0
| CR 3(1) | Notification of Construction Work |  | 1 | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 |  | CR 3(1) | Notification of Construction Work |  | 4 | 3 | 2 | 0 | 2 | 3 | 5 |  |  | CR 3(1) | Notification of Construction Work | 0.57143 | 1 | 0.5 | 0 | 0.5 | 1 | 0.83333 | 25-50 | 17 | 1 | 4 | 57 | 33 | 11 | 1 | 124
| CR 4(1) – g | Letter of good standing |  | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | CR 4(1) – g | Letter of good standing |  | 5 | 3 | 2 | 1 | 2 | 3 | 6 |  |  | CR 4(1) – g | Letter of good standing | 0.71429 | 1 | 0.5 | 0.25 | 0.5 | 1 | 1 | 50-75 | 88 | 5 | 39 | 111 | 77 | 54 | 7 | 381
|  | Registration number |  | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 |  |  | Registration number |  | 4 | 3 | 3 | 0 | 3 | 3 | 5 |  |  |  | Registration number | 0.57143 | 1 | 0.75 | 0 | 0.75 | 1 | 0.83333 | 75-100 | 147 | 147 | 147 | 147 | 147 | 147 | 147
| CR 4(1) – c | Principal Contractor appointed as such |  | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 |  | CR 4(1) – c | Principal Contractor appointed as such |  | 5 | 2 | 2 | 1 | 2 | 2 | 5 |  |  | CR 4(1) – c | Principal Contractor appointed as such | 0.71429 | 0.66667 | 0.5 | 0.25 | 0.5 | 0.66667 | 0.83333
| CR 5(1) | Safety, Health and Environmental Plan |  | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 |  | CR 5(1) | Safety, Health and Environmental Plan |  | 5 | 2 | 4 | 2 | 3 | 2 | 5 |  |  | CR 5(1) | Safety, Health and Environmental Plan | 0.71429 | 0.66667 | 1 | 0.5 | 0.75 | 0.66667 | 0.83333 | 0-25 | 0 | 0 | 0 | 20 | 7 | 1 | 0
| CR 5(7) | Safety, Health and Environmental File |  | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | CR 5(7) | Safety, Health and Environmental File |  | 3 | 3 | 3 | 3 | 2 | 3 | 6 |  |  | CR 5(7) | Safety, Health and Environmental File | 0.42857 | 1 | 0.75 | 0.75 | 0.5 | 1 | 1 | 25-50 | 17 | 1 | 4 | 37 | 26 | 10 | 1
[57 empty] | 50-75 | 71 | 4 | 35 | 54 | 44 | 43 | 6
|  | CONTRACTOR - SUB CONTRACTORS | [34 empty] | CONTRACTOR - SUB CONTRACTORS | [11 empty] | CONTRACTOR - SUB CONTRACTORS | [7 empty] | 75-100 | 59 | 142 | 108 | 36 | 70 | 93 | 140
| Sec. 37(2) | Is the agreement signed |  | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | Sec. 37(2) | Is the agreement signed |  | 6 | 3 | 4 | 4 | 2 | 3 | 6 |  |  | Sec. 37(2) | Is the agreement signed | 0.85714 | 1 | 1 | 1 | 0.5 | 1 | 1 | 0-25 | 0% | 0% | 0% | 13.61% | 4.762% | 0.6803% | 0%
| CR 3(1) | Notification of construction work |  | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 |  | CR 3(1) | Notification of construction work |  | 6 | 3 | 3 | 3 | 4 | 2 | 6 |  |  | CR 3(1) | Notification of construction work | 0.85714 | 1 | 0.75 | 0.75 | 1 | 0.66667 | 1 | 25-50 | 11.56% | 0.6803% | 2.721% | 25.17% | 17.69% | 6.803% | 0.6803%
| CR 4(1) – g | Letter of good standing |  | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 1 |  | CR 4(1) – g | Letter of good standing |  | 4 | 1 | 2 | 1 | 1 | 2 | 5 |  |  | CR 4(1) – g | Letter of good standing | 0.57143 | 0.33333 | 0.5 | 0.25 | 0.25 | 0.66667 | 0.83333 | 50-75 | 48.3% | 2.721% | 23.81% | 36.73% | 29.93% | 29.25% | 4.082%
|  | Registration number |  | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Registration number |  | 5 | 3 | 2 | 1 | 2 | 2 | 6 |  |  |  | Registration number | 0.71429 | 1 | 0.5 | 0.25 | 0.5 | 0.66667 | 1 | 75-100 | 40.14% | 96.6% | 73.47% | 24.49% | 47.62% | 63.27% | 95.24%
| CR 5(3) – b | Appointments as Contractor |  | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 |  | CR 5(3) – b | Appointments as Contractor |  | 6 | 3 | 3 | 1 | 4 | 2 | 6 |  |  | CR 5(3) – b | Appointments as Contractor | 0.85714 | 1 | 0.75 | 0.25 | 1 | 0.66667 | 1
88
2 |  | APPOINTMENTS | [32 empty] | 2 |  | APPOINTMENTS | [9 empty] | 2 |  | APPOINTMENTS
| Sec. 16(2) | Designated Employer |  | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | Sec. 16(2) | Designated Employer |  | 6 | 3 | 4 | 4 | 3 | 3 | 6 |  |  | Sec. 16(2) | Designated Employer | 0.85714 | 1 | 1 | 1 | 0.75 | 1 | 1
| Sec. 17(1) | SHE Representative (More than 20 employees) |  | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | Sec. 17(1) | SHE Representative (More than 20 employees) |  | 6 | 3 | 4 | 4 | 2 | 3 | 6 |  |  | Sec. 17(1) | SHE Representative (More than 20 employees) | 0.85714 | 1 | 1 | 1 | 0.5 | 1 | 1
| Sec. 19(3) | Chairperson of Safety, Health and Environmental Committee |  | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | Sec. 19(3) | Chairperson of Safety, Health and Environmental Committee |  | 6 | 3 | 4 | 2 | 2 | 3 | 6 |  |  | Sec. 19(3) | Chairperson of Safety, Health and Environmental Committee | 0.85714 | 1 | 1 | 0.5 | 0.5 | 1 | 1
| CR 6(1) | Construction Supervisor |  | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | CR 6(1) | Construction Supervisor |  | 5 | 3 | 3 | 1 | 4 | 2 | 6 |  |  | CR 6(1) | Construction Supervisor | 0.71429 | 1 | 0.75 | 0.25 | 1 | 0.66667 | 1
| CR 6(2) | Assistant Construction Supervisor |  | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | CR 6(2) | Assistant Construction Supervisor |  | 5 | 3 | 2 | 2 | 3 | 3 | 6 |  |  | CR 6(2) | Assistant Construction Supervisor | 0.71429 | 1 | 0.5 | 0.5 | 0.75 | 1 | 1
| CR 6(6) | Construction Safety Officer |  | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | CR 6(6) | Construction Safety Officer |  | 4 | 3 | 3 | 2 | 3 | 3 | 6 |  |  | CR 6(6) | Construction Safety Officer | 0.57143 | 1 | 0.75 | 0.5 | 0.75 | 1 | 1
|  | Full-time |  | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Full-time |  | 6 | 3 | 3 | 1 | 3 | 2 | 6 |  |  |  | Full-time | 0.85714 | 1 | 0.75 | 0.25 | 0.75 | 0.66667 | 1
|  | Part-time |  | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Part-time |  | 6 | 3 | 3 | 3 | 2 | 3 | 6 |  |  |  | Part-time | 0.85714 | 1 | 0.75 | 0.75 | 0.5 | 1 | 1
| CR 7(1) | Competent person to do Risk Assessment |  | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | CR 7(1) | Competent person to do Risk Assessment |  | 5 | 3 | 2 | 3 | 2 | 2 | 6 |  |  | CR 7(1) | Competent person to do Risk Assessment | 0.71429 | 1 | 0.5 | 0.75 | 0.5 | 0.66667 | 1
| CR 7(4) – a | Competent person to do Risk Assessment training |  | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | CR 7(4) – a | Competent person to do Risk Assessment training |  | 5 | 3 | 3 | 3 | 1 | 3 | 6 |  |  | CR 7(4) – a | Competent person to do Risk Assessment training | 0.71429 | 1 | 0.75 | 0.75 | 0.25 | 1 | 1
| CR 8(1) – a | Competent person to prepare the fall protection plan |  | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | CR 8(1) – a | Competent person to prepare the fall protection plan |  | 5 | 3 | 4 | 2 | 1 | 3 | 6 |  |  | CR 8(1) – a | Competent person to prepare the fall protection plan | 0.71429 | 1 | 1 | 0.5 | 0.25 | 1 | 1
| CR 10 – a | Competent person formwork and support work |  | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | CR 10 – a | Competent person formwork and support work |  | 3 | 3 | 2 | 2 | 0 | 2 | 6 |  |  | CR 10 – a | Competent person formwork and support work | 0.42857 | 1 | 0.5 | 0.5 | 0 | 0.66667 | 1
| CR 11(1) | Competent person for excavation work |  | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | CR 11(1) | Competent person for excavation work |  | 5 | 3 | 3 | 1 | 1 | 3 | 6 |  |  | CR 11(1) | Competent person for excavation work | 0.71429 | 1 | 0.75 | 0.25 | 0.25 | 1 | 1
| CR 12(1) | Competent person for demolition work |  | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | CR 12(1) | Competent person for demolition work |  | 6 | 3 | 3 | 2 | 0 | 3 | 6 |  |  | CR 12(1) | Competent person for demolition work | 0.85714 | 1 | 0.75 | 0.5 | 0 | 1 | 1
| CR 14(2) | Competent person for scaffolding |  | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | CR 14(2) | Competent person for scaffolding |  | 5 | 3 | 4 | 1 | 1 | 3 | 6 |  |  | CR 14(2) | Competent person for scaffolding | 0.71429 | 1 | 1 | 0.25 | 0.25 | 1 | 1
| CR 15(1) | Competent person for suspended platforms |  | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | CR 15(1) | Competent person for suspended platforms |  | 5 | 3 | 3 | 2 | 1 | 3 | 6 |  |  | CR 15(1) | Competent person for suspended platforms | 0.71429 | 1 | 0.75 | 0.5 | 0.25 | 1 | 1
| CR 17(6) – a | Competent person to operate material hoist |  | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | CR 17(6) – a | Competent person to operate material hoist |  | 6 | 3 | 3 | 3 | 2 | 3 | 6 |  |  | CR 17(6) – a | Competent person to operate material hoist | 0.85714 | 1 | 0.75 | 0.75 | 0.5 | 1 | 1
| CR 17(8) – a | Competent person to inspect material hoist |  | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | CR 17(8) – a | Competent person to inspect material hoist |  | 6 | 3 | 3 | 2 | 4 | 3 | 6 |  |  | CR 17(8) – a | Competent person to inspect material hoist | 0.85714 | 1 | 0.75 | 0.5 | 1 | 1 | 1
| CR 18(1) | Competent person to operate batch plants |  | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | CR 18(1) | Competent person to operate batch plants |  | 6 | 3 | 4 | 3 | 2 | 3 | 6 |  |  | CR 18(1) | Competent person to operate batch plants | 0.85714 | 1 | 1 | 0.75 | 0.5 | 1 | 1
| CR 19(2) – b | Competent person for inspection of explosive powered tools |  | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | CR 19(2) – b | Competent person for inspection of explosive powered tools |  | 6 | 3 | 4 | 2 | 4 | 3 | 6 |  |  | CR 19(2) – b | Competent person for inspection of explosive powered tools | 0.85714 | 1 | 1 | 0.5 | 1 | 1 | 1
| CR 19(2) – g | Competent person for issuing and collection of cartridges and nails |  | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | CR 19(2) – g | Competent person for issuing and collection of cartridges and nails |  | 6 | 3 | 3 | 2 | 4 | 3 | 6 |  |  | CR 19(2) – g | Competent person for issuing and collection of cartridges and nails | 0.85714 | 1 | 0.75 | 0.5 | 1 | 1 | 1
| CR 20 – g | Competent tower crane operators and certified |  | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | CR 20 – g | Competent tower crane operators and certified |  | 6 | 3 | 3 | 3 | 4 | 3 | 6 |  |  | CR 20 – g | Competent tower crane operators and certified | 0.85714 | 1 | 0.75 | 0.75 | 1 | 1 | 1
| CR 21(1) – d | Construction vehicle and mobile plant operator/ crane operator and inspectors |  | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | CR 21(1) – d | Construction vehicle and mobile plant operator/ crane operator and inspectors |  | 6 | 3 | 3 | 2 | 3 | 3 | 6 |  |  | CR 21(1) – d | Construction vehicle and mobile plant operator/ crane operator and inspectors | 0.85714 | 1 | 0.75 | 0.5 | 0.75 | 1 | 1
| CR 22 – d & e | Temporary electrical installation inspector |  | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | CR 22 – d & e | Temporary electrical installation inspector |  | 6 | 3 | 3 | 1 | 3 | 3 | 6 |  |  | CR 22 – d & e | Temporary electrical installation inspector | 0.85714 | 1 | 0.75 | 0.25 | 0.75 | 1 | 1
| CR 26 – a | Competent person for stacking and storage |  | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | CR 26 – a | Competent person for stacking and storage |  | 6 | 3 | 3 | 0 | 4 | 3 | 6 |  |  | CR 26 – a | Competent person for stacking and storage | 0.85714 | 1 | 0.75 | 0 | 1 | 1 | 1
| CR 27 – h | Competent person for inspection of fire equipment |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 |  | CR 27 – h | Competent person for inspection of fire equipment |  | 7 | 3 | 3 | 0 | 3 | 2 | 6 |  |  | CR 27 – h | Competent person for inspection of fire equipment | 1 | 1 | 0.75 | 0 | 0.75 | 0.66667 | 1
| CR 27 – i | Excavation Warden | [33 empty] | CR 27 – i | Excavation Warden |  | 7 | 3 | 4 | 4 | 4 | 3 | 6 |  |  | CR 27 – i | Excavation Warden | 1 | 1 | 1 | 1 | 1 | 1 | 1 | bar: Column1 1 A1 to Column6 6 G6
3 | CR 7(1) | RISK ASSESSMENT (will include) | [32 empty] | 3 | CR 7(1) | RISK ASSESSMENT (will include) | [9 empty] | 3 | CR 7(1) | RISK ASSESSMENT (will include)
| CR 7(1) – a | Risk identification |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | CR 7(1) – a | Risk identification |  | 7 | 3 | 4 | 3 | 3 | 3 | 6 |  |  | CR 7(1) – a | Risk identification | 1 | 1 | 1 | 0.75 | 0.75 | 1 | 1
| CR 7(1) – b | Risk analysis |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | CR 7(1) – b | Risk analysis |  | 7 | 3 | 4 | 2 | 3 | 3 | 6 |  |  | CR 7(1) – b | Risk analysis | 1 | 1 | 1 | 0.5 | 0.75 | 1 | 1
| CR 7(1) – c | Risk controls/ Safe work procedures/ Method statement |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | CR 7(1) – c | Risk controls/ Safe work procedures/ Method statement |  | 7 | 3 | 4 | 0 | 3 | 3 | 6 |  |  | CR 7(1) – c | Risk controls/ Safe work procedures/ Method statement | 1 | 1 | 1 | 0 | 0.75 | 1 | 1
|  | Matrix and rating |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Matrix and rating |  | 7 | 3 | 4 | 2 | 2 | 3 | 6 |  |  |  | Matrix and rating | 1 | 1 | 1 | 0.5 | 0.5 | 1 | 1
| CR 7(1) – d | Monitoring Plan |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | CR 7(1) – d | Monitoring Plan |  | 7 | 3 | 4 | 0 | 2 | 3 | 6 |  |  | CR 7(1) – d | Monitoring Plan | 1 | 1 | 1 | 0 | 0.5 | 1 | 1
| CR 7(1) – e | Review Plan |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | CR 7(1) – e | Review Plan |  | 7 | 3 | 4 | 3 | 4 | 3 | 6 |  |  | CR 7(1) – e | Review Plan | 1 | 1 | 1 | 0.75 | 1 | 1 | 1
4 | CR 7(7) | INDUCTION TRAINING | [32 empty] | 4 | CR 7(7) | INDUCTION TRAINING | [9 empty] | 4 | CR 7(7) | INDUCTION TRAINING
| CR 7(4) | The company training syllabus |  | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | CR 7(4) | The company training syllabus |  | 6 | 3 | 4 | 4 | 4 | 3 | 6 |  |  | CR 7(4) | The company training syllabus | 0.85714 | 1 | 1 | 1 | 1 | 1 | 1
| CR 7(9) – a | Attendance register of the induction course |  | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 |  | CR 7(9) – a | Attendance register of the induction course |  | 4 | 3 | 3 | 1 | 1 | 1 | 2 |  |  | CR 7(9) – a | Attendance register of the induction course | 0.57143 | 1 | 0.75 | 0.25 | 0.25 | 0.33333 | 0.33333
| CR 7(9) – b | Proof of induction on person |  | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 1 | 1 |  | CR 7(9) – b | Proof of induction on person |  | 5 | 3 | 2 | 2 | 2 | 2 | 4 |  |  | CR 7(9) – b | Proof of induction on person | 0.71429 | 1 | 0.5 | 0.5 | 0.5 | 0.66667 | 0.66667
|  | Was induction done by the client- entrance permit |  | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 |  |  | Was induction done by the client- entrance permit |  | 5 | 3 | 3 | 2 | 2 | 1 | 4 |  |  |  | Was induction done by the client- entrance permit | 0.71429 | 1 | 0.75 | 0.5 | 0.5 | 0.33333 | 0.66667
5 | CR 8(1) – a | FALL PROTECTION PLAN | [32 empty] | 5 | CR 8(1) – a | FALL PROTECTION PLAN | [9 empty] | 5 | CR 8(1) – a | FALL PROTECTION PLAN
| CR 8(2) – a | A Risk Assessment |  | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 |  | CR 8(2) – a | A Risk Assessment |  | 6 | 3 | 3 | 2 | 4 | 2 | 5 |  |  | CR 8(2) – a | A Risk Assessment | 0.85714 | 1 | 0.75 | 0.5 | 1 | 0.66667 | 0.83333
| CR 8(2) – b | Training Program |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 1 | 0 |  | CR 8(2) – b | Training Program |  | 7 | 3 | 2 | 1 | 3 | 2 | 4 |  |  | CR 8(2) – b | Training Program | 1 | 1 | 0.5 | 0.25 | 0.75 | 0.66667 | 0.66667
| CR 8(3) | Is the relevant supervisor in possession of fall protection plan? |  | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 |  | CR 8(3) | Is the relevant supervisor in possession of fall protection plan? |  | 6 | 3 | 2 | 2 | 1 | 2 | 5 |  |  | CR 8(3) | Is the relevant supervisor in possession of fall protection plan? | 0.85714 | 1 | 0.5 | 0.5 | 0.25 | 0.66667 | 0.83333
6 | CR 8(2) – b & 21 | CERTIFICATION OF MEDICAL FITNESS | [32 empty] | 6 | CR 8(2) – b & 21 | CERTIFICATION OF MEDICAL FITNESS | [9 empty] | 6 | CR 8(2) – b & 21 | CERTIFICATION OF MEDICAL FITNESS
| CR 8(2) – b & 21 | Evaluation of physical fitness of persons by a registered Medical Practitioner and Medical Matrix Register |  | 1 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 1 |  | CR 8(2) – b & 21 | Evaluation of physical fitness of persons by a registered Medical Practitioner and Medical Matrix Register |  | 4 | 3 | 3 | 3 | 2 | 2 | 4 |  |  | CR 8(2) – b & 21 | Evaluation of physical fitness of persons by a registered Medical Practitioner and Medical Matrix Register | 0.57143 | 1 | 0.75 | 0.75 | 0.5 | 0.66667 | 0.66667
|  | List of employees exposed to Table 3 HCS at medical center |  | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 1 |  |  | List of employees exposed to Table 3 HCS at medical center |  | 4 | 3 | 3 | 2 | 2 | 2 | 4 |  |  |  | List of employees exposed to Table 3 HCS at medical center | 0.57143 | 1 | 0.75 | 0.5 | 0.5 | 0.66667 | 0.66667
7 | Various | PLANNED MAINTENANCE INSPECTION, REGISTERED RECORDS (CHECKLISTS AND SIGNATURES) | [32 empty] | 7 | Various | PLANNED MAINTENANCE INSPECTION, REGISTERED RECORDS (CHECKLISTS AND SIGNATURES) | [9 empty] | 7 | Various | PLANNED MAINTENANCE INSPECTION, REGISTERED RECORDS (CHECKLISTS AND SIGNATURES)
| Sec 44 | Scaffolds |  | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | Sec 44 | Scaffolds |  | 6 | 3 | 4 | 2 | 3 | 3 | 6 |  |  | Sec 44 | Scaffolds | 0.85714 | 1 | 1 | 0.5 | 0.75 | 1 | 1
| CR 8(2) – d | Inspection, testing and maintenance of fall protection equipment |  | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 |  | CR 8(2) – d | Inspection, testing and maintenance of fall protection equipment |  | 5 | 3 | 3 | 3 | 2 | 2 | 6 |  |  | CR 8(2) – d | Inspection, testing and maintenance of fall protection equipment | 0.71429 | 1 | 0.75 | 0.75 | 0.5 | 0.66667 | 1
| DMR 18(5) | Lifting machines and lifting tackle |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | DMR 18(5) | Lifting machines and lifting tackle |  | 7 | 3 | 3 | 0 | 4 | 2 | 6 |  |  | DMR 18(5) | Lifting machines and lifting tackle | 1 | 1 | 0.75 | 0 | 1 | 0.66667 | 1
| GSR 3(4) | First Aid box an logbook register |  | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 |  | GSR 3(4) | First Aid box an logbook register |  | 5 | 3 | 1 | 1 | 1 | 0 | 6 |  |  | GSR 3(4) | First Aid box an logbook register | 0.71429 | 1 | 0.25 | 0.25 | 0.25 | 0 | 1
| GSR 13A | Ladder inspections done as per requirement |  | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 |  | GSR 13A | Ladder inspections done as per requirement |  | 5 | 3 | 1 | 2 | 3 | 2 | 6 |  |  | GSR 13A | Ladder inspections done as per requirement | 0.71429 | 1 | 0.25 | 0.5 | 0.75 | 0.66667 | 1
| VUP 11 | Vessels under pressure - compressors, fire extinguishers |  | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 |  | VUP 11 | Vessels under pressure - compressors, fire extinguishers |  | 5 | 3 | 3 | 3 | 4 | 3 | 5 |  |  | VUP 11 | Vessels under pressure - compressors, fire extinguishers | 0.71429 | 1 | 0.75 | 0.75 | 1 | 1 | 0.83333
| EMR 9 | Portable electrical tools |  | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 |  | EMR 9 | Portable electrical tools |  | 3 | 3 | 1 | 1 | 2 | 1 | 6 |  |  | EMR 9 | Portable electrical tools | 0.42857 | 1 | 0.25 | 0.25 | 0.5 | 0.33333 | 1
| EMR 10 | Portable electrical lights |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | EMR 10 | Portable electrical lights |  | 7 | 3 | 3 | 3 | 3 | 3 | 6 |  |  | EMR 10 | Portable electrical lights | 1 | 1 | 0.75 | 0.75 | 0.75 | 1 | 1
| GSR 2 | Personal protective equipment issued and records thereof |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | GSR 2 | Personal protective equipment issued and records thereof |  | 7 | 3 | 3 | 1 | 4 | 3 | 6 |  |  | GSR 2 | Personal protective equipment issued and records thereof | 1 | 1 | 0.75 | 0.25 | 1 | 1 | 1
8 |  | RECORDS | [32 empty] | 8 |  | RECORDS | [9 empty] | 8 |  | RECORDS
| CR 10(1) | Record of inspections of formwork and support work |  | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 1 |  | CR 10(1) | Record of inspections of formwork and support work |  | 5 | 3 | 3 | 3 | 3 | 3 | 4 |  |  | CR 10(1) | Record of inspections of formwork and support work | 0.71429 | 1 | 0.75 | 0.75 | 0.75 | 1 | 0.66667
| CR 11(3) – h | Record of inspection of excavation, bracing and shoring |  | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | CR 11(3) – h | Record of inspection of excavation, bracing and shoring |  | 6 | 3 | 4 | 2 | 3 | 3 | 6 |  |  | CR 11(3) – h | Record of inspection of excavation, bracing and shoring | 0.85714 | 1 | 1 | 0.5 | 0.75 | 1 | 1
| CR 12(2) | Method statement for demolishing a structure |  | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 |  | CR 12(2) | Method statement for demolishing a structure |  | 6 | 3 | 2 | 2 | 3 | 3 | 5 |  |  | CR 12(2) | Method statement for demolishing a structure | 0.85714 | 1 | 0.5 | 0.5 | 0.75 | 1 | 0.83333
| CR 12(11) | Method statement for use of explosives |  | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | CR 12(11) | Method statement for use of explosives |  | 3 | 3 | 3 | 1 | 1 | 3 | 6 |  |  | CR 12(11) | Method statement for use of explosives | 0.42857 | 1 | 0.75 | 0.25 | 0.25 | 1 | 1
| CR 15(2) – b | Certificate of system design for suspended platform |  | 1 | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 |  | CR 15(2) – b | Certificate of system design for suspended platform |  | 4 | 3 | 3 | 0 | 3 | 2 | 6 |  |  | CR 15(2) – b | Certificate of system design for suspended platform | 0.57143 | 1 | 0.75 | 0 | 0.75 | 0.66667 | 1
| CR 15(2) – c | Operational compliance plan - suspended platform |  | 0 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | CR 15(2) – c | Operational compliance plan - suspended platform |  | 4 | 3 | 3 | 0 | 1 | 3 | 6 |  |  | CR 15(2) – c | Operational compliance plan - suspended platform | 0.57143 | 1 | 0.75 | 0 | 0.25 | 1 | 1
| CR 15(10) | Daily inspection records - suspended platform |  | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 |  | CR 15(10) | Daily inspection records - suspended platform |  | 6 | 3 | 2 | 2 | 1 | 2 | 5 |  |  | CR 15(10) | Daily inspection records - suspended platform | 0.85714 | 1 | 0.5 | 0.5 | 0.25 | 0.66667 | 0.83333
| CR 15(12) – c | Training records - suspended platform |  | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 |  | CR 15(12) – c | Training records - suspended platform |  | 3 | 3 | 4 | 2 | 1 | 3 | 5 |  |  | CR 15(12) – c | Training records - suspended platform | 0.42857 | 1 | 1 | 0.5 | 0.25 | 1 | 0.83333
| CR 17(8) – a | Daily inspection of material hoists performed |  | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | CR 17(8) – a | Daily inspection of material hoists performed |  | 4 | 3 | 3 | 2 | 2 | 3 | 6 |  |  | CR 17(8) – a | Daily inspection of material hoists performed | 0.57143 | 1 | 0.75 | 0.5 | 0.5 | 1 | 1
| CR 17(8) – c | Inspection results of materials hoist |  | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 0 |  | CR 17(8) – c | Inspection results of materials hoist |  | 3 | 3 | 2 | 1 | 1 | 1 | 5 |  |  | CR 17(8) – c | Inspection results of materials hoist | 0.42857 | 1 | 0.5 | 0.25 | 0.25 | 0.33333 | 0.83333
| CR 18(9) | Record of repairs / maintenance to a batch plant |  | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 |  | CR 18(9) | Record of repairs / maintenance to a batch plant |  | 5 | 2 | 2 | 3 | 1 | 2 | 5 |  |  | CR 18(9) | Record of repairs / maintenance to a batch plant | 0.71429 | 0.66667 | 0.5 | 0.75 | 0.25 | 0.66667 | 0.83333
| CR 19(2) – g | Register of nails / maintenance to a batch plant |  | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 |  | CR 19(2) – g | Register of nails / maintenance to a batch plant |  | 5 | 3 | 3 | 2 | 3 | 3 | 5 |  |  | CR 19(2) – g | Register of nails / maintenance to a batch plant | 0.71429 | 1 | 0.75 | 0.5 | 0.75 | 1 | 0.83333
| CR 21(1) – j | Construction vehicle and mobile plant inspection records |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | CR 21(1) – j | Construction vehicle and mobile plant inspection records |  | 7 | 3 | 3 | 3 | 4 | 3 | 6 |  |  | CR 21(1) – j | Construction vehicle and mobile plant inspection records | 1 | 1 | 0.75 | 0.75 | 1 | 1 | 1
| CR 22 – d | Temporary electrical installation inspection register |  | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 |  | CR 22 – d | Temporary electrical installation inspection register |  | 6 | 3 | 3 | 2 | 4 | 3 | 5 |  |  | CR 22 – d | Temporary electrical installation inspection register | 0.85714 | 1 | 0.75 | 0.5 | 1 | 1 | 0.83333
9 |  | PREMISES AND HOUSE KEEPING | [32 empty] | 9 |  | PREMISES AND HOUSE KEEPING | [9 empty] | 9 |  | PREMISES AND HOUSE KEEPING
|  | Building and floors in good condition |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Building and floors in good condition |  | 7 | 3 | 4 | 3 | 4 | 3 | 6 |  |  |  | Building and floors in good condition | 1 | 1 | 1 | 0.75 | 1 | 1 | 1
|  | Sufficient lighting adequate - Spotlights for all work areas |  | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Sufficient lighting adequate - Spotlights for all work areas |  | 5 | 3 | 3 | 3 | 3 | 3 | 6 |  |  |  | Sufficient lighting adequate - Spotlights for all work areas | 0.71429 | 1 | 0.75 | 0.75 | 0.75 | 1 | 1
|  | Illumination adequate as determined by survey |  | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Illumination adequate as determined by survey |  | 5 | 3 | 3 | 0 | 4 | 3 | 6 |  |  |  | Illumination adequate as determined by survey | 0.71429 | 1 | 0.75 | 0 | 1 | 1 | 1
|  | Ventilation adequate as determined by survey |  | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 1 |  |  | Ventilation adequate as determined by survey |  | 3 | 2 | 3 | 1 | 2 | 2 | 5 |  |  |  | Ventilation adequate as determined by survey | 0.42857 | 0.66667 | 0.75 | 0.25 | 0.5 | 0.66667 | 0.83333
|  | Toilets and ablution facilities meet minimum standard and available |  | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Toilets and ablution facilities meet minimum standard and available |  | 2 | 3 | 3 | 1 | 3 | 3 | 6 |  |  |  | Toilets and ablution facilities meet minimum standard and available | 0.28571 | 1 | 0.75 | 0.25 | 0.75 | 1 | 1
|  | Sufficient waste bins/ containers provided and managed |  | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Sufficient waste bins/ containers provided and managed |  | 5 | 3 | 2 | 0 | 0 | 2 | 6 |  |  |  | Sufficient waste bins/ containers provided and managed | 0.71429 | 1 | 0.5 | 0 | 0 | 0.66667 | 1
|  | Waste disposal facilities - skips available and marked |  | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 |  |  | Waste disposal facilities - skips available and marked |  | 6 | 3 | 4 | 2 | 1 | 3 | 5 |  |  |  | Waste disposal facilities - skips available and marked | 0.85714 | 1 | 1 | 0.5 | 0.25 | 1 | 0.83333
|  | Hazardous waste handling/ storage/ transportation formalized according to risk requirements |  | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Hazardous waste handling/ storage/ transportation formalized according to risk requirements |  | 4 | 3 | 2 | 1 | 1 | 2 | 6 |  |  |  | Hazardous waste handling/ storage/ transportation formalized according to risk requirements | 0.57143 | 1 | 0.5 | 0.25 | 0.25 | 0.66667 | 1
|  | Environmental risk control |  | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Environmental risk control |  | 5 | 3 | 4 | 3 | 3 | 3 | 6 |  |  |  | Environmental risk control | 0.71429 | 1 | 1 | 0.75 | 0.75 | 1 | 1
|  | Colour cording/ demarcation/ signposted. Plant, equipment and pipelines |  | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Colour cording/ demarcation/ signposted. Plant, equipment and pipelines |  | 4 | 3 | 3 | 2 | 2 | 3 | 6 |  |  |  | Colour cording/ demarcation/ signposted. Plant, equipment and pipelines | 0.57143 | 1 | 0.75 | 0.5 | 0.5 | 1 | 1
|  | Risks on moving machinery/ equipment and parts identified, minimized and managed |  | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 |  |  | Risks on moving machinery/ equipment and parts identified, minimized and managed |  | 6 | 3 | 4 | 4 | 4 | 3 | 5 |  |  |  | Risks on moving machinery/ equipment and parts identified, minimized and managed | 0.85714 | 1 | 1 | 1 | 1 | 1 | 0.83333
10 |  | MECHANICAL, ELECTRICAL AND PERSONAL SAFEGUARDING | [32 empty] | 10 |  | MECHANICAL, ELECTRICAL AND PERSONAL SAFEGUARDING | [9 empty] | 10 |  | MECHANICAL, ELECTRICAL AND PERSONAL SAFEGUARDING
|  | Wearing of loose clothing, jewellery and loose hair in the proximity of moving machinery |  | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Wearing of loose clothing, jewellery and loose hair in the proximity of moving machinery |  | 5 | 3 | 2 | 0 | 1 | 3 | 6 |  |  |  | Wearing of loose clothing, jewellery and loose hair in the proximity of moving machinery | 0.71429 | 1 | 0.5 | 0 | 0.25 | 1 | 1
|  | Lockout procedures to cover all sources of energy and checks to ensure zero potential before any work commences |  | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Lockout procedures to cover all sources of energy and checks to ensure zero potential before any work commences |  | 5 | 3 | 2 | 1 | 3 | 3 | 6 |  |  |  | Lockout procedures to cover all sources of energy and checks to ensure zero potential before any work commences | 0.71429 | 1 | 0.5 | 0.25 | 0.75 | 1 | 1
|  | Safe lock outs on all prescribed equipment at points of control/ operation and any individual points in supply circuit to isolate safely |  | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Safe lock outs on all prescribed equipment at points of control/ operation and any individual points in supply circuit to isolate safely |  | 3 | 3 | 3 | 1 | 2 | 3 | 6 |  |  |  | Safe lock outs on all prescribed equipment at points of control/ operation and any individual points in supply circuit to isolate safely | 0.42857 | 1 | 0.75 | 0.25 | 0.5 | 1 | 1
|  | Light switches , DB's and plugs identified and marked |  | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Light switches , DB's and plugs identified and marked |  | 6 | 3 | 2 | 2 | 2 | 2 | 6 |  |  |  | Light switches , DB's and plugs identified and marked | 0.85714 | 1 | 0.5 | 0.5 | 0.5 | 0.66667 | 1
|  | Scaffolding erected in terms of CR 14 and SANS 10085 |  | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Scaffolding erected in terms of CR 14 and SANS 10085 |  | 4 | 3 | 3 | 2 | 2 | 2 | 6 |  |  |  | Scaffolding erected in terms of CR 14 and SANS 10085 | 0.57143 | 1 | 0.75 | 0.5 | 0.5 | 0.66667 | 1
|  | All stairways (4 raises or more) fitted with at least one handrail |  | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | All stairways (4 raises or more) fitted with at least one handrail |  | 4 | 3 | 2 | 1 | 0 | 2 | 6 |  |  |  | All stairways (4 raises or more) fitted with at least one handrail | 0.57143 | 1 | 0.5 | 0.25 | 0 | 0.66667 | 1
|  | Condition of lifting equipment certified (checklists & inspections, including rentals) |  | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Condition of lifting equipment certified (checklists & inspections, including rentals) |  | 3 | 3 | 4 | 2 | 3 | 2 | 6 |  |  |  | Condition of lifting equipment certified (checklists & inspections, including rentals) | 0.42857 | 1 | 1 | 0.5 | 0.75 | 0.66667 | 1
|  | Barricading, demarcation and signs (hazardous areas, openings and dangerous places) see CR 8 |  | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Barricading, demarcation and signs (hazardous areas, openings and dangerous places) see CR 8 |  | 5 | 3 | 4 | 1 | 2 | 2 | 6 |  |  |  | Barricading, demarcation and signs (hazardous areas, openings and dangerous places) see CR 8 | 0.71429 | 1 | 1 | 0.25 | 0.5 | 0.66667 | 1
|  | All boilers and pressure vessels meet legal requirements and certified. (calibrations, inspections and certificates) |  | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | All boilers and pressure vessels meet legal requirements and certified. (calibrations, inspections and certificates) |  | 3 | 3 | 4 | 1 | 4 | 3 | 6 |  |  |  | All boilers and pressure vessels meet legal requirements and certified. (calibrations, inspections and certificates) | 0.42857 | 1 | 1 | 0.25 | 1 | 1 | 1
|  | Portable gas cylinders correctly transported and stored. Flash back arrestors both lines |  | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Portable gas cylinders correctly transported and stored. Flash back arrestors both lines |  | 6 | 3 | 2 | 2 | 4 | 3 | 6 |  |  |  | Portable gas cylinders correctly transported and stored. Flash back arrestors both lines | 0.85714 | 1 | 0.5 | 0.5 | 1 | 1 | 1
|  | All products / substances clearly labeled and stored |  | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | All products / substances clearly labeled and stored |  | 6 | 3 | 2 | 3 | 3 | 3 | 6 |  |  |  | All products / substances clearly labeled and stored | 0.85714 | 1 | 0.5 | 0.75 | 0.75 | 1 | 1
|  | All use of HCS/ Radioactive sources used in accordance with risk assessments and training/ procedures, medical surveillance and personal protective equipment (dosimeters, dose exposure and time exposure) |  | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | All use of HCS/ Radioactive sources used in accordance with risk assessments and training/ procedures, medical surveillance and personal protective equipment (dosimeters, dose exposure and time exposure) |  | 3 | 3 | 3 | 3 | 2 | 3 | 6 |  |  |  | All use of HCS/ Radioactive sources used in accordance with risk assessments and training/ procedures, medical surveillance and personal protective equipment (dosimeters, dose exposure and time exposure) | 0.42857 | 1 | 0.75 | 0.75 | 0.5 | 1 | 1
|  | All company vehicles, construction vehicles and mobile plant roadworthy, licensed, fitted with audible alarms and strobe lights |  | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | All company vehicles, construction vehicles and mobile plant roadworthy, licensed, fitted with audible alarms and strobe lights |  | 3 | 3 | 2 | 0 | 1 | 2 | 6 |  |  |  | All company vehicles, construction vehicles and mobile plant roadworthy, licensed, fitted with audible alarms and strobe lights | 0.42857 | 1 | 0.5 | 0 | 0.25 | 0.66667 | 1
|  | All single/ three phased electrical equipment in the condition and on register |  | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | All single/ three phased electrical equipment in the condition and on register |  | 5 | 3 | 3 | 0 | 3 | 3 | 6 |  |  |  | All single/ three phased electrical equipment in the condition and on register | 0.71429 | 1 | 0.75 | 0 | 0.75 | 1 | 1
|  | All socket outlets circuits protected by E/L units. Portable units for wet work. Earth leakage tested |  | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | All socket outlets circuits protected by E/L units. Portable units for wet work. Earth leakage tested |  | 6 | 3 | 3 | 2 | 3 | 3 | 6 |  |  |  | All socket outlets circuits protected by E/L units. Portable units for wet work. Earth leakage tested | 0.85714 | 1 | 0.75 | 0.5 | 0.75 | 1 | 1
|  | All wiring safe and in accordance with specifications. Certificates of compliance valid and available |  | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | All wiring safe and in accordance with specifications. Certificates of compliance valid and available |  | 5 | 3 | 2 | 2 | 3 | 3 | 6 |  |  |  | All wiring safe and in accordance with specifications. Certificates of compliance valid and available | 0.71429 | 1 | 0.5 | 0.5 | 0.75 | 1 | 1
|  | All switches, plugs, jointing fuse boxes and distribution panels in accordance with legal requirements |  | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | All switches, plugs, jointing fuse boxes and distribution panels in accordance with legal requirements |  | 4 | 3 | 4 | 2 | 2 | 3 | 6 |  |  |  | All switches, plugs, jointing fuse boxes and distribution panels in accordance with legal requirements | 0.57143 | 1 | 1 | 0.5 | 0.5 | 1 | 1
|  | All personal hand tools in order. Homemade tools authorized |  | 1 | 1 | 0 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | All personal hand tools in order. Homemade tools authorized |  | 4 | 3 | 3 | 2 | 3 | 3 | 6 |  |  |  | All personal hand tools in order. Homemade tools authorized | 0.57143 | 1 | 0.75 | 0.5 | 0.75 | 1 | 1
|  | Employees trained on limitations, maintenance of personal protective equipment |  | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Employees trained on limitations, maintenance of personal protective equipment |  | 5 | 3 | 3 | 2 | 4 | 3 | 6 |  |  |  | Employees trained on limitations, maintenance of personal protective equipment | 0.71429 | 1 | 0.75 | 0.5 | 1 | 1 | 1
|  | Personal protective equipment surveys conducted to determine which PPE is required for each task and are they available |  | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Personal protective equipment surveys conducted to determine which PPE is required for each task and are they available |  | 6 | 3 | 3 | 2 | 4 | 3 | 6 |  |  |  | Personal protective equipment surveys conducted to determine which PPE is required for each task and are they available | 0.85714 | 1 | 0.75 | 0.5 | 1 | 1 | 1
|  | PPE inspections done and employee commitment to wear signed |  | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | PPE inspections done and employee commitment to wear signed |  | 6 | 3 | 3 | 3 | 3 | 3 | 6 |  |  |  | PPE inspections done and employee commitment to wear signed | 0.85714 | 1 | 0.75 | 0.75 | 0.75 | 1 | 1
|  | Tool inspection. Explosive powered tools. Management of cartridges and tools, appointments and issuing of nails and studs CR 19 |  | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Tool inspection. Explosive powered tools. Management of cartridges and tools, appointments and issuing of nails and studs CR 19 |  | 6 | 3 | 3 | 3 | 2 | 3 | 6 |  |  |  | Tool inspection. Explosive powered tools. Management of cartridges and tools, appointments and issuing of nails and studs CR 19 | 0.85714 | 1 | 0.75 | 0.75 | 0.5 | 1 | 1
|  | Identified employees trained and authorized as responsible persons |  | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Identified employees trained and authorized as responsible persons |  | 5 | 3 | 3 | 3 | 3 | 3 | 6 |  |  |  | Identified employees trained and authorized as responsible persons | 0.71429 | 1 | 0.75 | 0.75 | 0.75 | 1 | 1
|  | Condition of ladders |  | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Condition of ladders |  | 6 | 3 | 3 | 4 | 4 | 3 | 6 |  |  |  | Condition of ladders | 0.85714 | 1 | 0.75 | 1 | 1 | 1 | 1
|  | Ladders on register and identified number visible. Where possible, no wooden ladders to be used |  | 0 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Ladders on register and identified number visible. Where possible, no wooden ladders to be used |  | 3 | 3 | 3 | 2 | 3 | 1 | 6 |  |  |  | Ladders on register and identified number visible. Where possible, no wooden ladders to be used | 0.42857 | 1 | 0.75 | 0.5 | 0.75 | 0.33333 | 1
11 |  | MANAGEMENT OF FIRE AND OTHER EMERGENCY RISKS | [32 empty] | 11 |  | MANAGEMENT OF FIRE AND OTHER EMERGENCY RISKS | [9 empty] | 11 |  | MANAGEMENT OF FIRE AND OTHER EMERGENCY RISKS
|  | Fire and emergency equipment applicable to risk |  | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Fire and emergency equipment applicable to risk |  | 5 | 3 | 3 | 3 | 3 | 3 | 6 |  |  |  | Fire and emergency equipment applicable to risk | 0.71429 | 1 | 0.75 | 0.75 | 0.75 | 1 | 1
|  | Fire and emergency equipment freely accessible |  | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Fire and emergency equipment freely accessible |  | 4 | 3 | 3 | 2 | 1 | 2 | 6 |  |  |  | Fire and emergency equipment freely accessible | 0.57143 | 1 | 0.75 | 0.5 | 0.25 | 0.66667 | 1
|  | All emergency exits accessible and signs displayed |  | 1 | 0 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | All emergency exits accessible and signs displayed |  | 4 | 3 | 4 | 2 | 4 | 2 | 6 |  |  |  | All emergency exits accessible and signs displayed | 0.57143 | 1 | 1 | 0.5 | 1 | 0.66667 | 1
|  | Regular maintenance for fire extinguishers |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Regular maintenance for fire extinguishers |  | 7 | 3 | 1 | 2 | 2 | 3 | 6 |  |  |  | Regular maintenance for fire extinguishers | 1 | 1 | 0.25 | 0.5 | 0.5 | 1 | 1
|  | Storage of flammable/ explosive/ radioactive sources and items according to site standards |  | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Storage of flammable/ explosive/ radioactive sources and items according to site standards |  | 4 | 3 | 2 | 2 | 1 | 3 | 6 |  |  |  | Storage of flammable/ explosive/ radioactive sources and items according to site standards | 0.57143 | 1 | 0.5 | 0.5 | 0.25 | 1 | 1
|  | Fire extinguishers, firewatchers, hot work permit available when doing "Hot Work" |  | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Fire extinguishers, firewatchers, hot work permit available when doing "Hot Work" |  | 5 | 3 | 2 | 2 | 1 | 3 | 6 |  |  |  | Fire extinguishers, firewatchers, hot work permit available when doing "Hot Work" | 0.71429 | 1 | 0.5 | 0.5 | 0.25 | 1 | 1
|  | Emergency plan, Evacuation plan available and displayed in all offices and buildings |  | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Emergency plan, Evacuation plan available and displayed in all offices and buildings |  | 5 | 3 | 3 | 1 | 2 | 3 | 6 |  |  |  | Emergency plan, Evacuation plan available and displayed in all offices and buildings | 0.71429 | 1 | 0.75 | 0.25 | 0.5 | 1 | 1
|  | All employees trained in emergency evacuation procedures |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | All employees trained in emergency evacuation procedures |  | 7 | 3 | 3 | 0 | 2 | 3 | 6 |  |  |  | All employees trained in emergency evacuation procedures | 1 | 1 | 0.75 | 0 | 0.5 | 1 | 1
|  | Responsible person appointed to co-ordinate all emergencies |  | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Responsible person appointed to co-ordinate all emergencies |  | 6 | 3 | 4 | 1 | 2 | 3 | 6 |  |  |  | Responsible person appointed to co-ordinate all emergencies | 0.85714 | 1 | 1 | 0.25 | 0.5 | 1 | 1
|  | All reportable incidents/ accidents/ occupational illness/ diseases recorded on official documents as required by legislation and client electronically |  | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | All reportable incidents/ accidents/ occupational illness/ diseases recorded on official documents as required by legislation and client electronically |  | 6 | 3 | 3 | 3 | 2 | 3 | 6 |  |  |  | All reportable incidents/ accidents/ occupational illness/ diseases recorded on official documents as required by legislation and client electronically | 0.85714 | 1 | 0.75 | 0.75 | 0.5 | 1 | 1
|  | Designated investigators trained to investigate SHE incidents |  | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Designated investigators trained to investigate SHE incidents |  | 6 | 3 | 3 | 2 | 3 | 3 | 6 |  |  |  | Designated investigators trained to investigate SHE incidents | 0.85714 | 1 | 0.75 | 0.5 | 0.75 | 1 | 1
12 |  | INCIDENT RECORDING AND INVESTIGATION | [32 empty] | 12 |  | INCIDENT RECORDING AND INVESTIGATION | [9 empty] | 12 |  | INCIDENT RECORDING AND INVESTIGATION
|  | SHE Representatives (section) included in actual investigation |  | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | SHE Representatives (section) included in actual investigation |  | 5 | 3 | 3 | 3 | 1 | 2 | 6 |  |  |  | SHE Representatives (section) included in actual investigation | 0.71429 | 1 | 0.75 | 0.75 | 0.25 | 0.66667 | 1
|  | Root causes identified when investigating the SHE incident. Root cause identified, actions addressed and signed off by employers, investigator and SHE Rep |  | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Root causes identified when investigating the SHE incident. Root cause identified, actions addressed and signed off by employers, investigator and SHE Rep |  | 6 | 3 | 2 | 2 | 4 | 3 | 6 |  |  |  | Root causes identified when investigating the SHE incident. Root cause identified, actions addressed and signed off by employers, investigator and SHE Rep | 0.85714 | 1 | 0.5 | 0.5 | 1 | 1 | 1
|  | SHE incidents recorded in SHE Committee minutes (causes and preventative action) |  | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | SHE incidents recorded in SHE Committee minutes (causes and preventative action) |  | 5 | 3 | 3 | 2 | 2 | 3 | 6 |  |  |  | SHE incidents recorded in SHE Committee minutes (causes and preventative action) | 0.71429 | 1 | 0.75 | 0.5 | 0.5 | 1 | 1
|  | Statistics kept for SHE performance and displayed |  | 1 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Statistics kept for SHE performance and displayed |  | 4 | 3 | 3 | 1 | 2 | 3 | 6 |  |  |  | Statistics kept for SHE performance and displayed | 0.57143 | 1 | 0.75 | 0.25 | 0.5 | 1 | 1
|  | All incidents received, communicated and recalled with all employees |  | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | All incidents received, communicated and recalled with all employees |  | 5 | 3 | 3 | 1 | 3 | 3 | 6 |  |  |  | All incidents received, communicated and recalled with all employees | 0.71429 | 1 | 0.75 | 0.25 | 0.75 | 1 | 1
13 |  | MANAGEMENT | [32 empty] | 13 |  | MANAGEMENT | [9 empty] | 13 |  | MANAGEMENT
|  | SHE Reps trained and corrected (1 per 20 employees) |  | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | SHE Reps trained and corrected (1 per 20 employees) |  | 4 | 3 | 2 | 2 | 2 | 2 | 6 |  |  |  | SHE Reps trained and corrected (1 per 20 employees) | 0.57143 | 1 | 0.5 | 0.5 | 0.5 | 0.66667 | 1
|  | SHE Reps - do regular inspections in area of responsibility |  | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | SHE Reps - do regular inspections in area of responsibility |  | 5 | 3 | 3 | 1 | 3 | 1 | 6 |  |  |  | SHE Reps - do regular inspections in area of responsibility | 0.71429 | 1 | 0.75 | 0.25 | 0.75 | 0.33333 | 1
|  | SHE Reps - attend SHE committee meetings |  | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | SHE Reps - attend SHE committee meetings |  | 6 | 3 | 3 | 2 | 3 | 2 | 6 |  |  |  | SHE Reps - attend SHE committee meetings | 0.85714 | 1 | 0.75 | 0.5 | 0.75 | 0.66667 | 1
|  | SHE committee established according to standards and needs of the company and principal |  | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | SHE committee established according to standards and needs of the company and principal |  | 4 | 3 | 2 | 0 | 2 | 2 | 6 |  |  |  | SHE committee established according to standards and needs of the company and principal | 0.57143 | 1 | 0.5 | 0 | 0.5 | 0.66667 | 1
|  | SHE committee meetings held as per standard and minutes kept |  | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | SHE committee meetings held as per standard and minutes kept |  | 5 | 3 | 2 | 1 | 0 | 2 | 6 |  |  |  | SHE committee meetings held as per standard and minutes kept | 0.71429 | 1 | 0.5 | 0.25 | 0 | 0.66667 | 1
|  | Items on minutes actioned (recommendation/ action clearly indicated in minutes) |  | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Items on minutes actioned (recommendation/ action clearly indicated in minutes) |  | 5 | 3 | 3 | 2 | 2 | 3 | 6 |  |  |  | Items on minutes actioned (recommendation/ action clearly indicated in minutes) | 0.71429 | 1 | 0.75 | 0.5 | 0.5 | 1 | 1
|  | On- the- job SHE committee system in place |  | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | On- the- job SHE committee system in place |  | 6 | 3 | 3 | 2 | 2 | 1 | 6 |  |  |  | On- the- job SHE committee system in place | 0.85714 | 1 | 0.75 | 0.5 | 0.5 | 0.33333 | 1
|  | First aid boxes/ facilities provided for all workplaces and stocked according to standard and risk. Clearly indicated by information signs |  | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | First aid boxes/ facilities provided for all workplaces and stocked according to standard and risk. Clearly indicated by information signs |  | 3 | 3 | 2 | 0 | 1 | 2 | 6 |  |  |  | First aid boxes/ facilities provided for all workplaces and stocked according to standard and risk. Clearly indicated by information signs | 0.42857 | 1 | 0.5 | 0 | 0.25 | 0.66667 | 1
|  | Each First Aid box under control of a qualified first-aider |  | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Each First Aid box under control of a qualified first-aider |  | 5 | 3 | 2 | 1 | 0 | 2 | 6 |  |  |  | Each First Aid box under control of a qualified first-aider | 0.71429 | 1 | 0.5 | 0.25 | 0 | 0.66667 | 1
|  | Applicable legislation available and used |  | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Applicable legislation available and used |  | 2 | 3 | 4 | 1 | 3 | 3 | 6 |  |  |  | Applicable legislation available and used | 0.28571 | 1 | 1 | 0.25 | 0.75 | 1 | 1
|  | First - aid training valid and according to requirements (1 per every 50 employees) |  | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | First - aid training valid and according to requirements (1 per every 50 employees) |  | 4 | 3 | 4 | 1 | 2 | 3 | 6 |  |  |  | First - aid training valid and according to requirements (1 per every 50 employees) | 0.57143 | 1 | 1 | 0.25 | 0.5 | 1 | 1
|  | Formal SHE training (training needs according to risks). Training records available |  | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Formal SHE training (training needs according to risks). Training records available |  | 3 | 3 | 2 | 1 | 0 | 3 | 6 |  |  |  | Formal SHE training (training needs according to risks). Training records available | 0.42857 | 1 | 0.5 | 0.25 | 0 | 1 | 1
|  | Medical surveillance and biological monitoring programs appropriate to risk |  | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Medical surveillance and biological monitoring programs appropriate to risk |  | 4 | 3 | 3 | 0 | 3 | 1 | 6 |  |  |  | Medical surveillance and biological monitoring programs appropriate to risk | 0.57143 | 1 | 0.75 | 0 | 0.75 | 0.33333 | 1
|  | Person - job specifications available and used to ensure all employees match job specific profile requirements. (OHS specifications) |  | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Person - job specifications available and used to ensure all employees match job specific profile requirements. (OHS specifications) |  | 5 | 3 | 4 | 1 | 1 | 2 | 6 |  |  |  | Person - job specifications available and used to ensure all employees match job specific profile requirements. (OHS specifications) | 0.71429 | 1 | 1 | 0.25 | 0.25 | 0.66667 | 1
|  | Job observation carried out regularly, intervals according to risk |  | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Job observation carried out regularly, intervals according to risk |  | 4 | 3 | 3 | 0 | 2 | 2 | 6 |  |  |  | Job observation carried out regularly, intervals according to risk | 0.57143 | 1 | 0.75 | 0 | 0.5 | 0.66667 | 1
|  | All Sub-Contractors Audited by the principal contractor to ensure compliance |  | 0 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | All Sub-Contractors Audited by the principal contractor to ensure compliance |  | 4 | 3 | 2 | 0 | 1 | 1 | 6 |  |  |  | All Sub-Contractors Audited by the principal contractor to ensure compliance | 0.57143 | 1 | 0.5 | 0 | 0.25 | 0.33333 | 1
|  | SHE specifications/ restrictions for SHE items available for contractors to budget for safety equipment |  | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | SHE specifications/ restrictions for SHE items available for contractors to budget for safety equipment |  | 5 | 3 | 3 | 1 | 2 | 3 | 6 |  |  |  | SHE specifications/ restrictions for SHE items available for contractors to budget for safety equipment | 0.71429 | 1 | 0.75 | 0.25 | 0.5 | 1 | 1
|  | Policy, standards, guidelines and safety specifications to contractors |  | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | Policy, standards, guidelines and safety specifications to contractors |  | 5 | 3 | 3 | 2 | 4 | 1 | 6 |  |  |  | Policy, standards, guidelines and safety specifications to contractors | 0.71429 | 1 | 0.75 | 0.5 | 1 | 0.33333 | 1
2011
[40 empty] | A | B | C | D | E | F | G
[39 empty] | Compliance | 748 | 435 | 432 | 261 | 353 | 375 | 848
[39 empty] | Total | 1029 | 441 | 588 | 588 | 588 | 441 | 882
[40 empty] | 72.69% | 98.64% | 73.47% | 44.39% | 60.03% | 85.03% | 96.15%
185
[38 empty] | 2012 |  | A | B | C | D | E | F | G
[39 empty] | Compliance | 326 | 577 | 523 | 402 | 288 | 510 | 441
[39 empty] | Total | 441 | 588 | 588 | 588 | 441 | 588 | 441
[40 empty] | 73.92% | 98.13% | 88.95% | 68.37% | 65.31% | 86.73% | 100%
2013
[40 empty] | A | B | C | D | E | F | G
[39 empty] | Compliance | 417 | 682 |  | 645 | 511 | 502 | 144
[39 empty] | Total | 588 | 735 |  | 735 | 588 | 588 | 147
[40 empty] | 70.92% | 92.79% |  | 87.76% | 86.9% | 85.37% | 97.96%
[40 empty] | A | B | C | D | E | F | G
[39 empty] | Compliance |  | 558 | 720 | 733 | 526 | 584 | 147
[39 empty] | Total |  | 558 | 735 | 735 | 588 | 588 | 147
[41 empty] | 100% | 97.96% | 99.73% | 89.46% | 99.32% | 100%
[40 empty] | A | B | C | D | E | F | G
[39 empty] | 2011 | 72.69% | 98.64% | 73.47% | 44.39% | 60.03% | 85.03% | 96.15%
[39 empty] | 2012 | 73.92% | 98.13% | 88.95% | 68.37% | 65.31% | 86.73% | 100%
[39 empty] | 2013 | 70.92% | 92.79% | 0% | 87.76% | 86.9% | 85.37% | 97.96%
[39 empty] | 2014 | 0% | 100% | 97.96% | 99.73% | 89.46% | 99.32% | 100%
[40 empty] | 72.51% | 97.39% | 86.79% | 75.06% | 75.43% | 89.12% | 98.53%